Note on future windows and ventilation:

During the BIC process with our Building Certifier from Byron Shire Council, Beacon Laundry has been made aware that we need to remove or line the Foilboard ceiling insulation currently installed in the ceiling throughout both Lot 2 and Lot 4, due to the product not meeting the fire rating requirement of the BCA.

Beacon Laundry is in the process of evaluating best economical way forward, either completely removing the Foilboard insulation or lining it with a BCA approved fire rated material.

Beacon Laundry may want to install additional new windows, grills, vents, whirly birds, big internal industrial fans or motorised extraction fans to decrease the temperature and improve the work environment for our staff. This is pending the final outcome of the ceiling insulation/lining dilemma mentioned above.

We understand, grills/vents, whirly birds and big industrial fans are all exempt and can be installed without approval.

However, if deciding on installing windows and or motorised extraction fans, Beacon Laundry will present plans/locations/details and seek the Byron Shire Council's acknowledgement before proceeding with installation.

Best regards,

Beacon Laundry